Copyright 2014 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Product MasterSpec Section is licensed by ARCOM to Huber Engineered Woods LLC. ("Licensee").

This Product MasterSpec Section modifies the original MasterSpec text, and does not include the full content of the original MasterSpec Section.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, ARCOM or The American Institute of Architects (AIA).  Neither AIA nor ARCOM are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user.  A qualified design professional should review and edit the document to suit project requirements.

For more information, contact Huber Engineered Woods LLC, 10925 David Taylor Drive, Suite 300, Charlotte, NC 28262; Phone: (800) 933-9220; Website: www.huberwood.com.

For information about MasterSpec contact ARCOM at (800) 424-5080 or visit www.MasterSpec.com.

SECTION 061600.16 - SHEATHING (ZIP SYSTEM®)

TIPS:

To view non-printing Editor's Notes that provide guidance for editing, click on MasterWorks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on MasterWorks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

SUMMARY

Section Includes:

Combination wall sheathing, water resistive barrier and air barrier.

Combination roof sheathing and roof underlayment.

Self-adhering flexible flashing.

Liquid-applied flashing membrane.

Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified elsewhere.

Zip System® Wall Sheathing provides the water-resistive barrier in Section 072500. Specifier needs to ensure that an additional water-resistive barrier and air barrier are not specified in these sections to avoid multiple specifications for products that perform the same intended function.

Section 061000 "Rough Carpentry" for plywood backing panels.

Section 072500 "Weather Barriers" for water-resistive barrier applied over wall sheathing.

Section 072700 "Air Barriers".

ACTION SUBMITTALS

Product Data: For each type of process and factory-fabricated product. Indicate component materials and dimensions and include construction and application details.

For panels with integral water resistive barrier, include data on air/-moisture-infiltration protection based on testing according to referencing standards.

Sustainable Design Submittals:

Inputs for EA Prerequisite 2 and Credit EA 1: Proposed design input for exterior wall construction with air barrier performance taken into consideration.

"Product Data" Subparagraph below applies to LEED 2009 NC, CI, and CS Credit IEQ 4.4.

Product Data: For composite wood products, indicating that product contains no urea formaldehyde.

Certificates for Credit MR 5.1 or 5.2: Certificates verifying that materials were extracted, processed, and manufactured within 500 miles (805 km) of the project site.

QUALITY ASSURANCE

Manufacturer Qualifications: Capable of demonstrating that all wood procurement operations are conducted in accordance with procedures and policies of the Sustainable Forestry Initiative (SFI) Program.

Insert specific model code organization in paragraph below or revise if report must be from another source.

Code Compliance:  Comply with requirements of the following:

First subparagraph below is applicable to ZIP System® Wall Sheathing. Second subparagraph below is applicable to ZIP System® Wall Sheathing.

International Code Council (ICC), ICC-ESR1473.

International Code Council (ICC), ICC-ESR1474.

First subparagraph below is applicable to XIP System® Tape. Second subparagraph below is applicable to ZIP System Stretch Tape.

International Code Council (ICC), ICC-ESR2227.

International Association of Plumbing and Mechanical Officials (IAPMO); IAPMO-ER365.

First subparagraph below is applicable to ZIP System® Wall Sheathing. Second subparagraph below is applicable to ZIP System® Wall Sheathing.

State of Florida, Florida Product Approval FL 5930.

State of Florida, Florida Product Approval FL 6565.

DELIVERY, STORAGE, AND HANDLING

Outdoor Storage.  Comply with manufacturer's recommendations and as follows:

Set panel bundles on supports to keep off ground.

Cover panels loosely with waterproof protective material.

Anchor covers on top of stack, but keep away from sides and bottom to assure adequate air circulation.

When high moisture conditions exist, cut banding on panel stack to prevent edge damage.

WARRANTY

Include special Project warranties only in those Sections where availability has been verified with contractors and manufacturers.

When warranties are required, verify with Owner’s counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

Special Warranty: Manufacturer’s standard form in which manufacturer agrees to repair or replace components of sheathing system that fail due to manufacturing defects within specified warranty period.

Construction Period Warranty: Manufacturer shall warrant the panels and tape for weather exposure for a period of 180 days from installation.

Verify available warranties and warranty periods with manufacturers listed in Part 2 articles. Huber Engineered Woods LLC offers a limited 30-year warranty on ZIP System® Sheathing. Contact manufacturer for information on specific warranty requirements and provisions.

System Warranty Period: 30 years from date of Substantial Completion.

PRODUCTS

Manufacturers and products listed in SpecAgent and Masterworks Paragraph Builder are neither recommended nor endorsed by the AIA or ARCOM. Before inserting names, verify that manufacturers products listed there comply with requirements retained or revised in descriptions and are both available and suitable for the intended applications. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

PERFORMANCE REQUIREMENTS

Retain "Fire-Resistance Ratings" Paragraph below only if products specified are part of a fire-resistance-rated assembly. Indicate rating, testing agency, and testing agency's design designation on Drawings.

Fire-Resistance Ratings: As tested according to ASTM E 119; testing by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

Fire-Resistance Ratings: Indicated by design designations from UL's "Fire Resistance Directory" or from the listings of another qualified testing agency.

WOOD PANEL PRODUCTS

Delete paragraph below if orientated strand board is not used. All Huber Engineered Woods panels contained in this Section are manufactured using orientated strand board.

Oriented Strand Board:  DOC PS 2-10.

Retain "Thickness" Paragraph below if a minimum thickness is indicated on Drawings.

Thickness: As needed to comply with requirements specified, but not less than thickness indicated. Thickness shall satisfy minimum and maximum requirements for referenced performance category.

Factory mark panels to indicate compliance with applicable standard.

COMBINATION WALL SHEATHING, AIR AND WATER-RESISTIVE BARRIER

Structural I provides increased racking resistance. See Evaluations for information about durability classifications of oriented strand board.

7/16-inch (11-mm) (long-length only), 1/2-inch (13-mm), and 5/8-inch (16-mm) thick ZIP System® Wall Sheathing provides Exposure 1 and has an integral water-resistive barrier. 7/16-inch (11-mm) 4 ft by 8 ft (1219 mm by 2438 mm) panels are typically Exposure 1, rated sheathing. 7/16-inch (11-mm) 4 ft by 8 ft (1219 mm by 2438 mm) Structural 1 panels are available in certain geographical regions. Check with your local Huber Engineered Woods representative, or call 1-800-933-9220 ext 5022 for availability.

ZIP System® Wall Sheathing is used as combination wall sheathing, water-resistive barrier, and air barrier.  The sheathing panels are installed with a proprietary seam tape, which allows the system to be used as an alternate to the water-resistive barrier required in Chapter 14 of the IBC and Chapter 7 of the IRC. The system is a water-resistive barrier in accordance with ICC-ES Acceptance Criteria for Water-Resistive Barriers (AC38) and satisfies requirements of ICC-ES Acceptance Criteria for Water-Resistive Membranes Factory-bonded to Wood-based Structural Sheathing, Used as Water-Resistive Barriers (AC310).  It should not be used with adhered or non-drainable Exterior Insulated Finish Systems (EIFS) and should only be used on buildings of Type V construction and construction permitted under the IRC.  It should be covered within 180 days of installation by either a code-complying exterior wall covering, or one that is recognized in a current ICC-ES evaluation report.

When Huber Engineered Wood's ZIP System® Wall or Roof Sheathing is required, moisture barriers such as building paper or building wrap are not required on the walls. In wall covering systems requiring multiple layers of water-resistive barriers, ZIP System® is intended to replace only the first layer.

Oriented-Strand-Board Wall Sheathing: With integral water-resistive barrier, Exposure 1 sheathing.

Basis-of-Design Product: Subject to compliance with requirements, provide Huber Engineered Woods LLC; ZIP System® Wall Sheathing or a comparable product by one of the following:

<Insert manufacturer's name.>

Select one of three options in subparagraph below. Contact a Huber Engineered Woods representative for available span ratings in project area. 7/16-inch (11-mm) long length panels carry the Structural 1 panel grade. 7/16-inch (11-mm) 4 ft by 8 ft (1219 mm by 2438 mm) panels have the rated sheathing grade, but are available with the Structural 1 panel grade in certain geographical regions. Check with your local Huber Engineered Woods representative, or call 1-800-933-9220 ext 5022 for availability

Span Rating, Panel Grade and Performance Category: Not less than [24/16; Rated Sheathing 7/16 Performance Category] [24/16; Structural 1, 7/16 Performance Category] [24/0; 7/16 Performance Category] [32/16; Structural 1, 1/2 Performance Category].

ZIP System® Roof and Wall sheathing is available in 7/16, 1/2, and 5/8 Performance categories. Performance Categories have tolerance of plus or minus 0.8 mm (for metric basis) or 1/32-inch (for English basis) in accordance with PS 2-10. Actual thicknesses of 7/16 Performance Category and 1/2 Performance Category panels are 7/16-inch (11 mm) and 1/2-inch (13 mm) plus or minus 1/32-inch (0.8 mm), respectively.

Edge Profile: [Square edge] [Self-spacing profile].

Provide fastening guide on top panel surface with pre-spaced fastening symbols for 16-inches (406 mm) and 24-inches (610 mm) on centers spacing.

Performance Standard:  DOC PS2-10 and ICC-ES ESR-1474.

Factory laminated integral water-resistive barrier facer.

Perm Rating of Integral Water-Resistive Barrier: 12-16 perms.

Assembly maximum air leakage of 0.0072 cfm/sq. ft. (0.037 L/s x sq. m) infiltration and 0.0023 cfm/ sq. ft. (0.012 L/s x sq. m) exfiltration at a pressure differential of 1.57 (psf 75 Pa).

Exposure Time:  Designed to resist weather exposure for 180 days.

COMBINATION ROOF SHEATHING AND ROOF UNDERLAYMENT

Structural I provides increased racking resistance. See Evaluations for information about durability classifications of oriented strand board.

1/2 inch (13 mm) and 5/8-inch (16 mm) thick ZIP System® Roof and Wall Sheathing provides Exposure 1, Structural I. ZIP System® Roof Sheathing has a roofing underlayment. 7/16-inch (11 mm) 4 ft by 8 ft (1219 mm by 2438 mm)panels are Exposure 1, rated sheathing.

ZIP System® Roof and Wall Sheathing is used as a combination roof sheathing and roof underlayment.  The sheathing panels are installed with a proprietary seam tape, which allows the system to be used as an alternate to underlayment required in Chapter 15 of the IBC and Chapter 9 of the IRC. The system satisfies the requirements of ICC-ES Acceptance Criteria for Wood Structural Panel Roof Sheathing Factory-laminated with an Alternative Roof Underlayment (AC266). It should only be used on buildings of Type III or V construction and construction permitted under the IRC. It should be covered within 180 days of installation by either a code-complying exterior roof covering, or one that is recognized in a current ICC-ES evaluation report. It is limited to installation on buildings permitted to have nonclassified roof coverings using code-complying asphalt-fiberglass shingles, metal shingles, metal panels, wood shakes, wood shingles, slate shingles and slate-like composite shingles, and clay and concrete tile roof coverings. Installation is limited to roofs having slopes of 2:12 (16.67 percent) or greater.

When Huber Engineered Wood's ZIP System® Wall or Roof Sheathing is required, moisture barriers such as building paper or housewrap are not required on the walls, and felt underlayment is not required on the roof.  In roof and wall covering systems requiring multiple layers of water-resistive barriers, ZIP System® is intended to replace only the first layer.

Structural 1 panel grade is only available in the 1/2 and 5/8 Performance Category.

Oriented-Strand-Board Roof Sheathing: [With integral water-resistive barrier, Exposure 1, Structural I] [With integral water-resistive barrier, Exposure 1] sheathing.

Basis-of-Design Product:  Subject to compliance with requirements, provide Huber Engineered Woods LLC; ZIP System® Roof and Wall Sheathing or a comparable product by one of the following:

<Insert manufacturer's name>.

Span Rating, Panel Grade and Performance Category:  Not less than [24/16; Rated Sheathing; 7/16 Performance Category] [32/16; Structural 1; 1/2 Performance category] [40/20; Structural 1; 5/8 Performance Category].

ZIP System® Roof sheathing is available in 7/16, 1/2 and 5/8 Performance Category.

Tongue and groove edge profile is only available in the 5/8 Performance Category.

Edge Profile: [Square edge] [Tongue and groove] [Self-spacing profile].

Provide fastening guide on top panel surface with pre-spaced fastening symbols for 16-inches (406 mm) and 24-inches (610 mm) on center spacing.

Performance Standard: DOC PS2-10 and ICC-ES ESR-1473.

Factory laminated integral roofing underlayment facer.

Exposure Time:  Designed to resist weather exposure for 180 days.

7/16 Performance Category ZIP System® Roof and Wall Sheathing requires edge support (Approved H-clips or blocking) when installed on roof supports spaced greater than 16-inches. Approved Panel edge clips are Simpson Strong-Tie PSCA7/16, PSCL7/16 and TAMLYN PCS7/16. No other brand or model of panel edge clip may be used with 7/16 Performance Category ZIP System® Sheathing. Tongue-and-Groove edge profile is only available in 5/8 Performance Category ZIP System® Sheathing.

Panel Edge Clips: Provide panel edge clips approved for application in accordance with code approvals and panel manufacturer’s written instructions.

FASTENERS

For roof and wall sheathing, determine type and spacing of fasteners acceptable to authority having jurisdiction.

General: Provide fasteners of size and type that comply with requirements specified in this article by the authority having jurisdiction, International Building Code, International Residential Code, Wood Frame Construction manual, and National Design Specification.

Huber Engineered Woods' ZIP System® Wall Sheathing panels utilize an OSB substrate, factory-laminated with an integral water resistive barrier consisting of a medium-density, phenolic-impregnated, overlay. It complies with requirements of a Grade D barrier. Therefore, no separate weather resistant sheathing paper is required.

MISCELLANEOUS MATERIALS

Huber Engineered Woods' proprietary ZIP System® Tape is used to tape sheathing panel joints and may be used as flexible flashing around windows and window frames, door frames, and wall penetrations. It should only be used with the ZIP System® Roof and Wall Sheathing. ZIP System 3.75 inch (95 mm) wide seam tape is used to seal seams at panel edges. ZIP System® 6 inch (152 mm) wide flashing tape may be used to seal seams at panel edges but is more commonly used as door and window flashing tape.

Self-Adhering Seam and Flashing Tape: Pressure-sensitive, self-adhering, cold-applied, proprietary seam tape consisting of polyolefin film with acrylic adhesive.

Basis-of-Design Product: Subject to compliance with requirements provide Huber Engineered Woods; ZIP System® Seam and Flashing Tape or a comparable product by one of the following:

<Insert manufacturer's name>.

Thickness: 0.012 inch (0.3 mm).

Width: [3.75 inch (95.3 mm)] [6 inch (152.4 mm)].

Code Compliance:  Comply with requirements of authorities having jurisdiction and ICC Evaluation Service, Inc. "AC148 - Acceptance Criteria for Flexible Flashing Materials."

International Code Council (ICC), ICC-ES ESR2227.

American Architectural Manufacturer’s Association; AAMA 711.

Huber Zip System® Liquid Flash works in conjunction with, or in place of, ZIP System® Tape to permanently flash and seal building penetrations and panel seams.

Liquid-Applied Flashing Membrane: Gun-grade, cold-applied, silyl-terminated polyether (STPE) liquid flashing membrane compatible with sheathing/weather barrier and self-adhering seam and flashing tape, and tested as part of an assembly meeting performance requirements. Follow manufacturer's recommendation for integration with self-adhering seam and flashing tape.

Basis-of-Design Product: Subject to compliance with requirements, provide Huber Engineered Woods; ZIP System® Liquid Flash or a comparable product by one of the following:

<Insert manufacturer's name>.

Hardness, Shore A, ASTM C 661: 40 to 45.

Total Solids: 99 percent.

Tensile Strength, ASTM D 412: 75 psi (517 kPa).

Huber Engineered Woods' ZIP System® Stretch Tape may be used as flexible flashing around windows and window frames, door frames, and wall penetrations. ZIP System® stretch tape is an innovative construction tape that stretches and forms around irregular and difficult to seal areas.  It is resistant to UV radiation and has a 30-year limited system warranty when used with ZIP System® sheathing.

Self-Adhering Flexible Flashing Tape: Pressure-sensitive, self-adhering, cold-applied, flexible flashing tape consisting of a flexible acrylic foam backing with acrylic adhesive.

Basis-of-Design Product: Subject to compliance with requirements provide Huber Engineered Woods; ZIP System® Stretch Tape or a comparable product by one of the following:

<Insert manufacturer's name>.

Thickness:  0.042 inch (1.067 mm).

Width: [6 inch (150 mm)] [10 inch (254 mm)].

Code Compliance:  Comply with requirements of authorities having jurisdiction and ICC Evaluation Service, Inc. "AC148 - Acceptance Criteria for Flexible Flashing Materials."

International Association of Plumbing and Mechanical Officials (IAPMO), IAPMO ER365.

American Architectural Manufacturer’s Association; AAMA 711.

EXECUTION

INSTALLATION, GENERAL

Do not use materials with defects that impair quality of sheathing or pieces that are too small to use with minimum number of joints or optimum joint arrangement.

Cut panels at penetrations, edges, and other obstructions of work; fit tightly against abutting construction unless otherwise indicated.

Securely attach to substrate by fastening as indicated, complying with the following:

Retain one of first two subparagraphs below, as required to comply with requirements of Project and local codes.

Chapter 23  in the ICC's International Building Code.

Table R602.3(1), "Fastener Schedule for Structural Members," and Table R602.3(2), "Alternate Attachments," in the ICC's International Residential Code for One- and Two-Family Dwellings.

ICC-ES evaluation report for fastener.

Retain first paragraph below if using wood framing. Revise to indicate other kinds of nails if required.

Use common wire nails unless otherwise indicated. Select fasteners of size that will not fully penetrate members where opposite side will be exposed to view or will receive finish materials. Make tight connections. Install fasteners without splitting wood.

Coordinate [wall] [parapet] [and] [roof] sheathing installation with flashing and joint-sealant installation so these materials are installed in sequence and manner that prevent exterior moisture from passing through completed assembly.

Do not bridge building expansion joints; cut and space edges of panels to match spacing of structural support elements.

Only mechanically attached and drainable EIFS and exterior insulation should be used with ZIP System wall sheathing.

WOOD STRUCTURAL PANEL INSTALLATION

General: Comply with applicable recommendations in APA Form No. E30, "Engineered Wood Construction Guide," for types of structural-use panels and applications indicated.

Fastening Methods: Fasten panels as indicated below:

Delete fastening methods as required. Coordinate with building code requirements.

Wall and Roof Sheathing:

Nail or staple to wood framing.

Screw to cold-formed metal framing.

APA Recommends spacing panels 1/8 inch (3 mm) apart at edges and ends.

Space panels 1/8 inch (3 mm) apart at edges and ends.

Install fasteners 3/8 inch (9.5 mm) to 1/2 inch (12.7 mm) from panel edges.

Space fasteners in compliance with requirements of authority having jurisdiction.

SHEATHING JOINT TREATMENT

Retain this Article if joints are sealed in lieu of using a weather-resistant barrier; verify requirements of authorities having jurisdiction.

Seal sheathing joints according to sheathing manufacturer's written instructions.

Huber’s proprietary seam tape is ZIP System® Tape.

Apply seam tape to joints between sheathing panels.

Utilize tape gun or hard rubber roller provided by manufacturer to ensure tape is completely adhered to substrates.

Huber’s liquid applied flashing is ZIP System® Liquid Flash.

When using liquid-applied flashing to seal sheathing joints follow manufacturer’s recommendations for sealing panel seams.

FLEXIBLE OR LIQUID-APPLIED FLASHING INSTALLATION

Huber’s tape flexible flashing is ZIP System® Stretch Tape.

Apply tape flexible flashing or membrane where indicated to comply with manufacturer's written instructions.

After flexible flashing tape has been applied, roll surfaces with a hard rubber to ensure that flashing is completely adhered to substrates.

Width for flexible flashing: 6 inch (154.4 mm).

Huber’s liquid applied flashing is ZIP System® Liquid Flash. Huber’s seam and flashing tape is ZIP System® Tape.

Apply liquid-applied flashing membrane at penetrations, gaps, and cracks to form continuous weathertight surface. Apply liquid membrane according to manufacturer’s written instructions. Follow manufacturer’s recommendation for integration with seam and flashing tape.

Huber’s liquid applied flashing is ZIP System® Liquid Flash.

Apply liquid applied flashing membrane where indicated to comply with manufacturer's written instructions.

After liquid applied flashing membrane has been applied, tool wet product with a plastic spreader, putty knife, or similar tool to ensure that flashing is opaque and substrate is no longer visible.

Minimum Thickness for Liquid Flashing: 12 mils (0.3 mm).

Huber’s seam and flashing tape is ZIP System® Tape, and their flexible flashing tape is ZIP System® Stretch Tape.

Apply liquid flashing membrane according to manufacturer's written instructions. Follow manufacturer's recommendations for integration with seam and flashing tape or flexible flashing tape.

Huber’s flexible flashing tape is ZIP System® Stretch Tape.

Apply flexible flashing tape where indicated to comply with manufacturer's written instructions.

After flexible flashing tape has been applied, roll surfaces with a hard rubber to ensure that flashing is completely adhered to substrates.

Width of flexible flashing: 6 inches (154.4 mm) or 10 inches (254 mm).

END OF SECTION 061600.16