Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Product MasterSpec Section is licensed by ARCOM to Huber Engineered Woods LLC ("Licensee").

This Product MasterSpec Section modifies the original MasterSpec text, and does not include the full content of the original MasterSpec Section.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, ARCOM or The American Institute of Architects (AIA).  Neither AIA nor ARCOM are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user.  A qualified design professional should review and edit the document to suit project requirements.

For more information, contact Huber Engineered Woods LLC, 10925 David Taylor Drive, Suite 300, Charlotte, NC 28262;  Phone: (800) 933-9220; Website: www.zipsystem.com.

For information about MasterSpec contact ARCOM at (800) 424-5080 or visit www.MasterSpec.com.

SECTION 072723 - BOARD PRODUCT AIR BARRIERS

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

SUMMARY

Section Includes:

Combination wall sheathing, water-resistive barrier, and air barrier.

Self-adhering flexible flashing.

Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified elsewhere.  ZIP System Wall Sheathing provides the water-resistive barrier in Section 072500 and wood structural panel wall sheathing in Section 061600.  Specifier needs to ensure that an additional water-resistive barrier and wood structural panel wall sheathing are not specified in these sections to avoid multiple specifications for products that perform the same intended function

Section 061600 "Sheathing".

Section 072500 "Weather Barriers" for water-resistive barrier applied over wall sheathing.

ACTION SUBMITTALS

Product Data:  For each type of process and factory-fabricated product.  Indicate component materials and dimensions and include construction and application details.

For panels with integral water resistive barrier, include data on air-/moisture-infiltration protection based on testing according to referenced standards.

LEED Submittals:

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1; coordinate with requirements selected in Part 2 for construction adhesive.

Inputs for EA Prerequisite 2 and Credit EA 1: Proposed design input for exterior wall construction with air barrier performance taken into consideration.

"Product Data for Credit IEQ 4.4" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS.  Delete if no composite wood products are used.

Product Data for Credit IEQ 4.4:  For composite wood products, documentation indicating that product contains no urea formaldehyde.

Certificates for Credit MR 5.1 or 5.2: Certificates verifying that materials were extracted, processed, and manufactured within 500 miles of the project site.

QUALITY ASSURANCE

Manufacturer Qualifications: Capable of demonstrating that all wood procurement operations are conducted in accordance with procedures and policies of the Sustainable Forestry Initiative (SFI) Program.

Insert specific model code organization in paragraph below or revise if report must be from another source.

Code Compliance:  Comply with requirements of the following:

International Code Council (ICC), ICC-ESR1474 (ZIP System Wall Sheathing).

International Code Council (ICC), ICC-ESR2227 (ZIP System Tape).

Florida Building Code Compliance: Provide sheathing complying with Florida Building Code product and installation requirements for locations outside of high velocity wind zone.

DELIVERY, STORAGE, AND HANDLING

Outdoor Storage: Comply with manufacturer’s recommendations.

Set panel bundles on supports to keep off ground.

Cover panels loosely with waterproof protective material.

Anchor covers on top of stack, but keep away from sides and bottom to assure adequate air circulation.

When high moisture conditions exist, cut banding on panel stack to prevent edge damage.

WARRANTY

Include special Project warranties only in those Sections where availability has been verified with contractors and manufacturers.

When warranties are required, verify with Owner’s counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

Special Warranty: Manufacturer’s standard form in which manufacturer agrees to repair or replace components of sheathing system that fail due to manufacturing defects within specified warranty period.

Verify available warranties and warranty periods with manufacturers listed in Part 2 articles. Huber Engineered Woods LLC offers a limited 30-year warranty on ZIP System Wall Sheathing.  Contact manufacturer for information on specific warranty requirements and provisions.

System Limited Warranty Period: 30 years from date of Substantial Completion.

PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products.  For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

PERFORMANCE REQUIREMENTS

Retain "Fire-Test-Response Characteristics" Paragraph below for fire-rated assemblies.

Fire-Test-Response Characteristics:  For assemblies with fire-resistance ratings, provide materials and construction identical to those of assemblies tested for fire resistance per ASTM E 119 by a testing and inspecting agency acceptable to authorities having jurisdiction.

Indicate design designations of specific assemblies on Drawings.

Fire-Resistance Ratings:  Indicated by design designations from [UL's "Fire Resistance Directory."] [GA-600, "Fire Resistance Design Manual."] <Insert listing organization and publication>.

WOOD PANEL PRODUCTS

Delete paragraph below if orientated strand board is not used.  All Huber Engineered Wood panels contained in this Section are manufactured using orientated strand board.

Oriented Strand Board:  DOC PS 2-10.

Retain "Thickness" Paragraph below if a minimum thickness is shown on Drawings.

Thickness:  As needed to comply with requirements specified, but not less than thickness indicated.  Thickness shall satisfy minimum and maximum requirements for referenced performance category.

Factory mark panels to indicate compliance with applicable standard.

COMBINATION WALL SHEATHING, WATER-RESISTIVE BARRIER, AND AIR BARRIER

Structural I provides increased racking resistance.  See Evaluations for information about durability classifications of oriented strand board.

1/2 and 5/8-inch thick ZIP System Wall Sheathing provides Exposure 1, Structural I and has an integral water-resistive barrier and air barrier.  ZIP System is a registered trademarks of Huber Engineered Woods, LLC.

ZIP System Wall Sheathing is used as combination wall sheathing, water-resistive barrier, and air barrier.  The sheathing panels are installed with a proprietary seam tape, which allows the system to be used as an alternate to the water-resistive barrier required in Chapter 14 of the IBC and Chapter 7 of the IRC.  The system is a water-resistive barrier in accordance with ICC-ES Acceptance Criteria for Water-Resistive Barriers (AC38) and satisfies requirements of ICC-ES Acceptance Criteria for Water-Resistive Membranes Factory-bonded to Wood-based Structural Sheathing, Used as Water-Resistive Barriers (AC310).  It should not be used with adhered or non-drainable Exterior Insulated Finish Systems (EIFS) and should only be used on buildings of Type V construction and construction permitted under the IRC.  It should be covered within 180 days of installation by either a code-complying exterior wall covering, or one that is recognized in a current ICC-ES evaluation report.

When Huber Engineered Wood's ZIP System Wall Sheathing is required, moisture barriers such as building paper or building wrap are not required on the walls.  In wall covering systems requiring multiple layers of water-resistive barriers, ZIP System is intended to replace only the first layer.

Oriented-Strand-Board Wall Sheathing:  With integral water-resistive barrier, Exposure 1 sheathing.

Basis-of-Design Product:  Subject to compliance with requirements, provide Huber Engineered Woods LLC; ZIP System Wall Sheathing or a comparable product by one of the following:

<Insert manufacturer's name.>

Select one of three options in subparagraph below.  Contact a Huber Engineered Woods representative for available span ratings in project area.

Span Rating and Performance Category:  Not less than [24/16; 7/16 Performance Category] [32/16; 1/2 Performance Category] [40/20 Structural 1; Performance Category].

ZIP System Wall sheathing is available in 7/16, 1/2 and 5/8 Performance Categories. Performance Categories have tolerance of plus or minus 0.8 mm (for metric basis) or 1/32-inch (for English basis) in accordance with PS 2-10.  Actual thicknesses of 7/16 Performance Category and 1/2 Performance Category panels are 7/16-inch and 1/2-inch plus or minus 1/32-inch (0.8 mm), respectively.

Edge Profile:  [Square edge] [Self-spacing profile].

Provide fastening guide on top panel surface with pre-spaced fastening symbols for 16-inches (406 mm) and 24-inches (610 mm) on centers spacings.

Performance Standard:  DOC PS2-10 and ICC-ES ESR-1474.

Factory laminated integral water-resistive barrier facer.

Perm Rating of Integral Water-Resistive Barrier:  12-16 perms.

Assembly maximum air leakage of 0.0072 cfm/sq. ft. (0.037 L/s x sq. m) infiltration and 0.0023 cfm/ sq. ft. (0.012 L/s x sq. m) exfiltration at a pressure differential of 1.57 psf (75 Pa).

Exposure Time:  Designed to resist weather exposure for 180 days.

FASTENERS

Huber Engineered Woods does not recommend any particular type of fastener over another for wall sheathing installation, as long as it is acceptable to the authority having jurisdiction.  For wall sheathing, determine type and spacing of fasteners acceptable to authority having jurisdiction.

General:  Provide fasteners of size and type that comply with requirements specified in this article by the authority having jurisdiction, International Building Code, International Residential Code, Wood Frame Construction manual, and National Design Specification.

Huber Engineered Woods' ZIP System Wall Sheathing panels utilize an OSB substrate, factory-laminated with an integral water resistive barrier consisting of a medium-density, phenolic-impregnated, moisture barrier overlay.  It complies with requirements of a Grade D barrier.  Therefore, no separate weather resistant sheathing paper is required.

For wall sheathing, provide fasteners [with hot-dip zinc coating complying with ASTM A 153/A 153M] [of Type 304 stainless steel].

Nails, Brads, and Staples:  ASTM F 1667.

Standard in "Power-Driven Fasteners" Paragraph below covers power-driven staples, nails, P-nails, and allied fasteners.

Power-Driven Fasteners:  NES NER-272.

Wood Screws:  ASME B18.6.1.

MISCELLANEOUS MATERIALS

Huber Engineered Woods' proprietary ZIP System Tape is used to tape sheathing panel joints and may be used as flexible flashing around windows and window frames, door frames, and wall penetrations.  It should only be used with the ZIP System Roof and Wall Sheathing.  ZIP System 3.75 inch wide seam tape is used to seal seams at panel edges.  ZIP System 6 inch wide flashing tape may be used to seal seams at panel edges but is more commonly used as door and window flashing tape.

Self-Adhering Seam and Flashing Tape:  Pressure-sensitive, self-adhering, cold-applied, proprietary seam tape consisting of polyolefin film with acrylic adhesive.

Basis-of-Design Product:  Subject to compliance with requirements provide Huber Engineered Woods; ZIP System Tape or a comparable product by one of the following:

<Insert manufacturer's name>.

Thickness:  0.012 inch (0.3 mm).

Width:  [3.75 inch (95.3 mm)] [6 inch (152.4 mm)].

Code Compliance:  Comply with requirements of authorities having jurisdiction and ICC Evaluation Service, Inc. "AC148 - Acceptance Criteria for Flexible Flashing Materials."

International Code Council (ICC), ICC-ES2227 (ZIP System Tape).

American Architectural Manufacturer’s Association; AAMA 711.

EXECUTION

INSTALLATION, GENERAL

Do not use materials with defects that impair quality of sheathing or pieces that are too small to use with minimum number of joints or optimum joint arrangement.

Cut panels at penetrations, edges, and other obstructions of work; fit tightly against abutting construction unless otherwise indicated.

Securely attach to substrate by fastening as indicated, complying with the following:

ICC-ES ESR-1539 or NES NER-272 for power-driven fasteners.

Retain one of two subparagraphs below, with or without subparagraph above, to comply with requirements of Project and local codes.

Chapter 23 in ICC's "International Building Code."

Table R602.3(1), "Fastener Schedule for Structural Members," and Table R602.3(2), "Alternate Attachments," in ICC's "International Residential Code for One- and Two-Family Dwellings."

Retain first paragraph below if using wood framing.  Revise to indicate other kinds of nails if required.

Use common wire nails unless otherwise indicated.  Select fasteners of size that will not fully penetrate members where opposite side will be exposed to view or will receive finish materials.  Make tight connections.  Install fasteners without splitting wood.

Coordinate wall sheathing installation with flashing and joint-sealant installation so these materials are installed in sequence and manner that prevent exterior moisture from passing through completed assembly.

Do not bridge building expansion joints; cut and space edges of panels to match spacing of structural support elements.

Only mechanically attached and drainable EIFS and exterior insulation should be used with ZIP System wall sheathing.

WOOD STRUCTURAL PANEL INSTALLATION

General:  Comply with applicable recommendations in American Wood Council, “ASD/LRFD Manual for Engineered Wood Construction,” 2012 edition for types of structural-use panels and applications indicated.

Fastening Methods:  Fasten panels as indicated below:

Delete fastening methods as required.  Coordinate with building code requirements.

Wall Sheathing:

Nail to wood framing.

Screw to cold-formed metal framing.

Space panels 1/8 inch (3 mm) apart at edges and ends.

Install fasteners 3/8 inch (9.5 mm) to 1/2 inch (12.7 mm) from panel edges.

Space fasteners in compliance with requirements of authority having jurisdiction.

SHEATHING JOINT TREATMENT

Seal sheathing joints according to sheathing manufacturer's written instructions.

Apply ZIP System proprietary seam tape to joints between sheathing panels.

Utilize ZIP System tape gun or hard rubber roller provided by manufacturer to ensure tape is completely adhered to substrates.

FLEXIBLE FLASHING INSTALLATION

Apply ZIP System Tape flexible flashing where indicated to comply with manufacturer's written instructions.

After flashing has been applied, roll surfaces with a hard rubber to ensure that flashing is completely adhered to substrates.

Width of Flexible Flashing:  6 inch (152.4 mm).

END OF SECTION 072723