Specifier:  The purpose of this guide specification is to assist the specifier in correctly specifying EXACOR™ underlayment and its installation when used as flooring underlayment.  The specifier needs to edit the guide specification to fit the needs of specific projects.  Contact Huber Engineered Woods to assist in appropriate product selections.  Throughout the guide specification, there are Specifier Notes to assist in the editing of the file. Red text in brackets indicates a selection needs to be made by the design professional.

EXACOR underlayment is intended to be used in place of wet-laid gypsum cement underlayment for interior flooring applications.  The underlayment needs to be installed over wood structural panels. EXACOR can be used in floor/ceiling assemblies to meet STC/IIC requirements

SECTION 06 16 26

UNDERLAYMENT

(Huber Engineered Woods – EXACOR™ panels)

SECTION INCLUDES

Magnesium Oxide (MgO) Panels for use as flooring underlayment.

ACTION SUBMITTALS

Product Data:  For each type of underlayment product.  Include manufacturer’s technical data indicating performance properties.

Shop Drawings:  Indicating location and extent of underlayment.  Include details at joints, corners, and penetrations.

INFORMATIONAL SUBMITTALS

Evaluation Reports:  From ICC NTA for underlayment products

Warranty:  Sample unexecuted copy of manufacturer warranty.

CLOSEOUT SUBMITTALS

Warranty:  Executed copy of manufacturer warranty.

DELIVERY, STORAGE, AND HANDLING

Comply with manufacturer's written instructions for storage prior to installation.

Store panels horizontally and fully supported.

WARRANTY

Manufacturer's Warranty:  Manufacturer's standard form in which underlayment manufacturer agrees to repair or replace products that demonstrate deterioration or failure under normal use due to manufacturing defects within warranty period, when installed according to manufacturer's instructions.

Warranty Period for Underlayment Products: 10 years from date of manufacture.

PRODUCTS

PERFORMANCE REQUIREMENTS

Specifier: EXACOR Underlayment, as a product, is Fire-Resistant and can be used as a component of a tested Fire-Resistant Assembly.  A similar assembly can be used to meet or exceed STC/IIC requirements for dwelling separation.    Contact Huber Engineered Woods to obtain a current list of tested assemblies or refer to EXACOR Fire and Sound Assemblies handbook for assemblies that include finished floor options with STC, IIC and HIIC values.

Fire Resistance Assembly and Sound Rating information is for example only, coordinate project specific requirements, and coordinate with other specification sections to include each assembly component.   Include of graphic assembly in drawings

Fire Resistance Assembly in accordance with UL263 Design No L528 (System No. 22)

Fire Rating:  1-Hour Fire Resistant Assembly

Bare Sound Rating:

STC:  57

IIC: 50

HIIC: 51

Fire Resistance Assembly in accordance with UL263 Design No L602 (System No. 2)

Fire Rating:  1-Hour Fire Resistant Assembly

Bare Sound Rating

STC:  58

IIC: 50

HIIC: 49

Fire Resistance Assembly in accordance with UL263 Design No L501 (System No. 22)

Fire Rating:   1-Hour Fire Resistant Assembly

Fire Resistance Assembly in accordance with UL263 Design No M500 (System No. 9)

Fire Rating:   2-Hour Fire Resistant Assembly

BASIS OF DESIGN

EXACOR™ Underlayment by Huber Engineered Woods LLC, Charlotte NC; Phone: (800) 933-9220; Website: www.EXACOR.com

MAGNESIUM OXIDE UNDERLAYMENT PANELS

Physical Characteristics

Specifier: EXACOR Underlayment is available in both 1/2 and 5/8 inch thick panels with the 1/2 panel being the more common thickness.

Thickness:  [1/2 inch (12 mm)] [5/8 inch (16 mm)]

Panel Size:  48 by 96 inches (1220 by 2440mm)

Edge profile:  Straight (square)

Fire-Resistant Characteristics in accordance with ASTM E84 - Standard Test Method for Surface Burning Characteristics of Building Materials

Specifier: Tested in accordance with ASTM E84, both panels exceed the minimum requirements.  First options (0) are the EXACOR test result, second options (25/450) is the maximum allowable to be classified as Fire-Resistant.  Select the desired value for specific project.

Flame Spread: [less than or equal to 10]

Smoke Developed: [less than or equal to 5]

Water Vapor Permeable:

Specifier: Tested in accordance with ASTM E96 for both Method B and Method A for Vapor Permeance and both exceed the minimum requirements.  Select the desired value or test method for specific project.

ASTM E96 – Standard Test Methods for Water Vapor Transmission

[Greater than or equal to 13 perms according to ASTM E96 Method B]

[Greater than or equal to 5 perms accord to ASTM E96 Method A]

Mold Resistance:  No mold growth observed in accordance with ASTM G21 – Standard Practice for Determining Resistance of Synthetic Polymeric Materials to Fungi.

FASTENERS

Specifier: Review local building code requirements for fastener size and spacing.   EXACOR is fastened to the subfloor using BOTH adhesive and mechanical fasteners -

Fasteners:  Size and type complying with manufacturer's written instructions for Project conditions and requirements of authorities having jurisdiction.

Nails: Deformed shank nails with shank diameter of 0.113 inches by 1.5 inches long, minimum

Corrosion Resistant: Class D, ASTM A153 Hot-Dipped Galvanized, Electro-Galvanized, or better

Underlayment Panel Adhesive:  Polyurethane- or solvent- based product complying with ASTM D3498 or APA AFG-01.

WOOD STRUCTURAL PANEL SUBFLOORING

Specifier: Subflooring should be selected based on the required design loads with a minimum floor span rating of 24 inches on center and a performance category of 23/32.  Subflooring is frequently included in Section 06 16 00 – but may be included elsewhere.  Edit Section reference according to specific project, and appropriately specify structural wood subflooring.

Refer to Section 06 16 00 - Sheathing.

EXECUTION

EXAMINATION

Examine wood structural panel subfloor installation to determine that work is ready to receive underlayment.  Proceed with underlayment work once conditions meet requirements.

Confirm flatness and subfloor surface quality is within tolerances required by the underlayment manufacturer.

Subflooring to be free of dust, debris, standing water or other contaminants that would interfere with installation of EXACOR underlayment panels in accordance with manufacturer’s recommendations.

MAGNESIUM OXIDE BOARD UNDERLAYMENT INSTALLATION

Underlayment Installation, General:

Install underlayment boards in accordance with manufacturer's written instructions, requirements of applicable [Evaluation Reports;] [Fire-Resistant Assembly;] [Sound rated assembly], and requirements of authorities having jurisdiction.

Fully support underlayment panels on wood structural panel subflooring.

Maintain designed expansion joints through underlayment.  Do not bridge designed expansion joints in structural panel subfloor.

Underlayment Installation:

Glue and nail to wood structural subflooring

Apply adhesive in accordance with manufacturer’s instructions.

Place EXACOR underlayment with smooth side exposed.  Butt underlayment tight to adjacent panels.

Offset underlayment edges a minimum of 4 inches from structural subflooring edges.

Ensure full contact between EXACOR underlayment and structural subflooring

Mechanically fasten underlayment board

Space Fasteners:  6 inches on center at all edges and 12 inches on center in the field

Locate fasteners 1/2 inches from board edges and 2 inches from panel corners

Fasten underlayment to subfloor.

Ensure fasteners sit flush or slightly below panel surface,

PROTECTION AND REPAIR

Protect exposed board surfaces from damage due to high construction traffic and concentrated loads during construction.

Patch small gaps (less than 2 sq inches) and divots in underlayment with elastomeric patching compound

Where large repairs are required, cut out damaged area and replace with piece of underlayment, installing in same manner as initial installation.  Apply patching compound to transition between board and patch.

PREPARATION OF FINISH FLOOR COVERINGS

Specifier: Floor flatness requirements may vary depending on type of flooring.  Identify project specific requirements for flooring materials and include in each finish section affected by Underlayment Section.  Wording of this Preparation Article can be included in each associated finish Section.

Remove dust, dirt and debris from underlayment surface.  Ensure panel surface is free from water, oil, grease and other contaminants.

Verify underlayment mechanical fasteners are flush with panel face or slightly below.

Identify and correct imperfections in the surface and repair damage as indicated above.

Proceed with specific finish preparation prior to installation of flooring finish.

END OF SECTION

DISCLAIMER: 

This Specification have been written as an aid to the professionally qualified Specifier and Design Professional. The use of this Guide requires the sole professional judgment and expertise of the qualified Specifier and Design Professional to adapt the information to the specific needs for the Building Owner and the Project, to coordinate with their Construction Document Process, and to meet all the applicable building codes, regulations and laws. HUBER ENGINEERED WOODS EXPRESSLY DISCLAIMS ANY WARRANTY, EXPRESSED OR IMPLIED, INCLUDING THE WARRANTY OF MERCHANTABILITY OR FITNESS FOR PARTICULAR PURPOSE OF THIS PRODUCT FOR THE PROJECT.